## Introduction
Welcome to the AIA COTE Top Ten Super Spreadsheet!
Explanation |  | Step 1: Fill out the basic information about your project in the yellow cells. |  |  |  | Step 2: Review your benchmarks to evaluate your projects performance.
This tool has been created by AIA COTE members to help architects calculate project performance metrics. After entering information on each measure tab, the "Results" tab will graphically display the holistic project's performance across all 10 AIA COTE measures of sustainable design. Whether it's used to better understand a design's performance or to streamline the process of submitting for the AIA COTE Top Ten award, this tool will allow easy, consistent calculation and evaluation of project performance metrics and benchmarking. Note: This version is not compatible with Excel 2019 or older. For questions email cote@aia.org, we are looking to improve the tool, and appreciate your feedback! |  | Basic Project Information |  |  |  | Transportation
|  | Project Name |  |  |  | Total Annual |  | 0 | kg-CO2e / yr
|  | Project Address |  |  |  | Total Annual per Occupant |  | 1729.2353 | kg-CO2e / occupant / yr
apt., suite, etc.
|  | Country / Region(?) |  |  |  | Water
|  | City |  |  |  | Total Annual Water Use |  | 0 | gal / yr
|  | State (?) |  |  |  | WUI - Water Use Intensity (Program-based) |  | 0 | gal / sf / yr | User-Defined Benchmark Source
|  | Other State / Province(?) |  |  |  | WUI - Water Use Intensity (User-Defined) |  |  | gal / sf / yr
|  | Zip / Postal Code(?) |  |  | (Link) | Water Use per Occupant |  |  | gal / occupant / yr
|  | ASHRAE Climate Zone |  |  | (Link)
|  | Other Climate Zone(?) |  |  |  | Energy
|  | Total Building Area | 0 | sf |  | Total Annual Energy Use |  | 0 | kBtu / yr
|  | Conditioned Area(?) |  | sf |  | EUI - Energy Use Intensity (Program-based) |  | 0 | kBtu / sf / yr
|  | Unconditioned Area(?) |  | sf |  | EUI - Energy Use Intensity (User-defined) |  |  | kBtu / sf / yr | Use ZeroTool designated EUI
|  | Site Area(?) |  | sf |  | Energy Use per Occupant |  |  | kBtu / occupant / yr
|  | Regularly occupied space(?) |  | sf
|  | Avg daily occupancy(?) |  | People |  | Operational Carbon Emissions
|  | Peak occupancy(?) |  | People |  | Total Annual Carbon Emissions |  | 0 | kg-CO2e / yr
|  | FTEs(?) |  | People |  | Carbon Use Intensity (Program-based) |  | 0 | kg-CO2e / sf / yr | User-Defined Benchmark Source
Cell Type Legend |  | Project completion year |  | Year (YYYY) |  | Carbon Use Intensity (User-Defined) |  |  | kg-CO2e / sf / yr
Input data | Explanation | Annual days of operation(?) |  | Days |  | Carbon Emissions per Occupant |  |  | kg-CO2e / occupant / yr
|  | Avg. daily hours of operation(?) |  | hours
Reasonable values and sources |  | Total Construction Cost(?) |  | USD |  | Electric Lighting
|  |  |  | FAR |  | Lighting Power Density |  | 0 | W / sf | User-Defined Benchmark Source
AIA COTE Top 10 Award Program Color Scheme |  |  |  | Cost/sf |  | Lighting Power Density (User-Defined) |  |  | W / sf
sf/occupant - Avg.
Optional for AIA COTE Top 10 | Mandatory for AIA COTE Top 10 |  |  | sf/occupant - Peak
Calculated Value | Calculated Value |  | 0 | Annual hours of operation
This first page assigns benchmarks based on building-specific, national data for the project to be compared against and relies on program types selected. If a user-defined benchmark is present, the national benchmarks will be overridden. Please approximate your building program to match the list of programs available in this calculator. For laboratory and single-family residential buildings, please allocate 100% of your building area to that type. For AIA COTE Top Ten energy reductions, the benchmark should be user-defined using Architecture 2030's Zero Tool. Optional user-defined benchmarks can be entered above as a way of tracking any specific benchmarking research that the team conducted. |  | Building Program |  |  |  | Nonconformity Statement
|  |  | Program Breakdown(?) |  | % of Building Area |  | Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements.
|  | Building Program #1 |  | 
|  | Building Program #2 |  | 
|  | Building Program #3 |  | 
|  | Building Program #4 |  | 
|  | Building Program #5 |  | 
|  | Building Program #6 |  | 
|  | Building Program #7 |  | 
|  | Building Program #8 |  | 
|  |  | Total must equal 100% |  | 0%
Additional Building Information
|  | Project Type |  | 
|  | Site Environment(?) |  | 
|  | Previously Developed Site |  | 
|  | Is the firm an AIA 2030 Signatory |  | 
|  | Reported in the AIA DDx |  | 
|  | Third party rating system 1 |  | 
|  | Third party rating system 2 |  | 
|  | Third party rating system 3 |  | 
|  | If other, specify |  | 

## 1 - Integration
1 - Design for Integration
Explanations |  |  |  | Inputs: Describe your project's big idea on integrating design and sustainability in the yellow cell below. Look at the chart below for inspiration.
HOLISTIC SUSTAINABILITY |  |  |  | 1.1 - What is the big idea?
Sustainability strategies can affect and involve multiple AIA COTE measures. As an example: think how many measures are influenced by carbon metrics? The chart below represents the interconnectivity of the AIA COTE measures.
COMMUNITY
Place based. | ECOLOGY
Aquifer/watershed, shared resource. | Climate appropriate landscape. Rainwater harvesting. | WATER
Financial resilience. | Economic benefits of biophilic design. Low maintenance design. | Water savings, water independence. | ECONOMY
District systems. | Bioclimatic and passive design. | Energy savings from transportation and treatment of water. | Life cycle cost, Life cycle analysis. |  | ENERGY
Carbon emissions from transportation. Air quality. | Connection to nature. | Water quality. | Operational costs and costs from productivity of building occupants. |  | Daylighting as energy conversation measure. | WELLNESS
Locally sourced materials. | Environmentally conscious material extraction, mfg., transp. and disposal. | Aquifer conservation, surface water quality and enjoyment, watershed protection. | Durability and maintenance of materials. |  | Embodied carbon of materials. | Safer material selection, material transparency. | RESOURCES
Social equity is a major component of resilience. | Climate change: fires, earthquakes, floods, ocean rise. | Water resilience. Flooding, precipitation changes, drought. | Right sizing, flexibility for growth and change. |  | Carbon's role in climate change. | Passive survivability. | Embodied carbon savings from adaptive reuse. | CHANGE
User groups, profiles, heat maps. | Biodiversity. | Mindful presence of water. | Replicable, cost effective strategies. |  | Measurement and verification. | Tracking health impacts. | Future adaptability. | Post-occupancy evaluations. | DISCOVERY

## 2 - Community
2 - Design for Equitable Communities
Explanations | Calculators: Enter your values into the yellow cells. |  |  |  |  | Reasonable Ranges | [5 empty] | Sources
Walkscore.com generates several scores for walkability and community resources for any address in the US. NOTE: Transit and Bike scores are not available for all locations and can be left blank with an explanation to that effect in Section 2.4 - Nonconformity Statement of this tab. | 2.1 - Walk / Transit / Bike Score |  |  |  |  | Range | Walk Score |  | Transit Score | Range | Bike Score | Walk Score Methodology
[6 empty] | 0 - 24 | Car Dependent |  | Minimal Transit | 0 - 49 | Somewhat Bikeable
|  | Walk Score |  |  |  | 25 - 49 | Mostly Car Dependent |  | Some Transit | 50 - 69 | Bikeable
|  | Transit Score |  |  |  | 50 -69 | Somewhat Walkable |  | Good Transit | 70 - 89 | Very Bikeable
|  | Bike Score |  |  |  | 70 - 89 | Very Walkable |  | Excellent Transit | 90 - 100 | Biker's Paradise
[6 empty] | 90 - 100 | Walker's Paradise |  | Rider's Paradise
Based on Sherry A Arnstein's, "A Ladder of Citizen Participation", what was the level of community engagement during the design and construction process? | 2.2 - Community Engagement |  |  |  |  | Type | Score |  |  |  |  | Arnstein's Ladder of Citizen Participation
[6 empty] | Manipulation | 0 | 0% | Poor
|  | Community Engagement Level |  |  |  | Therapy | 1 | 14.29%
[6 empty] | Informing | 2 | 28.57%
|  | Community Engagement Score |  |  |  | Consultation | 3 | 42.86% | Baseline
[6 empty] | Placation | 4 | 57.14%
[6 empty] | Partnership | 5 | 71.43% | Better
[6 empty] | Delegation | 6 | 85.71%
[6 empty] | Citizen Control | 7 | 100% | Best!
This simple calculator compares your project's commuting patterns to published national averages. Use a survey (or an educated guess) to determine the average commuting distance and average mpg of the building's occupants. If no information is available, use the baseline (US national average). Though it's designed for office projects, the calculator can produce good results for all buildings that people travel to and from. | 2.3 - Simple Transportation Carbon Calculator |  |  |  |  | kgs of CO2e/Occupant | [5 empty] | Reference Values |  | Unit | Source
[12 empty] | Average car fuel economy | 24.9 | mpg | 2020 EPA Automative Trends Report
|  |  | Proposed | Baseline | Unit | > 1800 | Baseline |  |  |  |  | Average CO2 emitted per gallon | 8.887 | kg CO2e/gallon | EPA - Vehicle Emissions
|  | Average Daily Occupancy | 0 |  |  | 1350 - 1800 | Getting there |  |  |  |  | Average one way commute | 12.7 | Miles | 2017 National Household Travel Survey
|  | No. of occupants commuting by single-occupancy gas vehicle(?) |  |  |  | 900 - 1350 | Better | [7 empty] | Table 27, Survey Year 2017 Adj., Private Vehicle
|  | Percent of occupants commuting by single-occupancy vehicle |  | 76.3% | Weekly Avg. | 450 - 900 | High Performing |  |  |  |  | Share of single occupancy commutes | 76.3% |  | 2019 Census
|  | Average round trip commute |  | 25.4 | Miles | 0 - 450 | Very High Performing |  |  |  |  | Average commuting days | 250 | days/year | 5 days * 50 weeks
|  | Days Commuting per week |  | 5 | Days
|  | Weeks commuting per year |  | 50 | weeks | [6 empty] | *Please use reference values, not regional values
|  | Average Car Fuel Economy(?) |  | 24.9 | mpg
|  | Average carbon emission per gallon of gasoline | 8.887 | 8.887 | kg-CO2e / gal
|  | Annual transportation carbon per occupant |  | 1729.2353 | kg-CO2e / occupant / yr
|  | Annual Transportation Carbon |  | 0 | kg-CO2e / yr
Transportation Carbon Percent Reduction
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 2.4 - Nonconformity Statement

## 3 - Ecosystems
3 - Design for Ecosystems
Explanations | Calculators: Enter your values into the yellow cells. | [5 empty] | Reasonable Ranges | Sources
Determine the area of the site reserved for vegetation, both before and after development by subtracting all impervious areas from the site area. Green roofs are included in the percent vegetated calculations. | 3.1 - Vegetated Area | [5 empty] | In most cases, it's desirable to increase a site's vegetated area.
|  |  | Post-Development |  | Pre-Development
|  | Green roof area |  | sf |  | sf
|  | Building footprint area |  | sf |  | sf
|  | Surface parking area |  | sf |  | sf
|  | Area of additional on site hardscapes |  | sf |  | sf
|  | Area of the total site that is vegetated | 0 | sf | 0 | sf
|  | Site Area | 0 | sf | 0 | sf
Percent of Site Area Vegetated
Increase in Percent of Vegetated Area - Post Development
Native plants include those that are indigenous to a specific geographic location and are adapted for the local climate and ecosystems. Use "turf grass" for any landscape areas with decorative plants not adapted to the local climate. | 3.2 - Quality of Plantings | [5 empty] | A greater percentage of native plants and a smaller percentage of turf grass is usually preferable.
Native Plants
|  | Area of Post Development Site with Native Plants |  | sf
Percent of Vegetated Area with Native Plants
Turf Grass
|  | Area of Post Development Site with Turfgrass |  | sf
Percent of Vegetated Area with Turf Grass
Identify the strategies implemented by the project to help users become more aware or connected with the site and their regional ecosystems. | 3.3 - Level of Ecological Design | [5 empty] | These are all areas of ecological concern, so a higher score is good.
Intentional Ecological Design Strategies were used to Promote:
|  | Biodiversity |  | 
|  | Dark Skies |  | 
|  | Bird Safety |  | 
|  | Soil Conservation |  | 
|  | Carbon Sequestration |  | 
|  | Habitat Conservation, Flora/Fauna |  | 
|  | Abatement of Specific Regional Environmental Concerns |  | 
Other:
|  | Ecological Design Score | 0%
Use this section to explain any unique situations or nonconformities with the COTE Top Ten awards requirements. | 3.4 - Nonconformity Statement

## 4 - Water
4 - Design for Water
Explanations | Calculators: Enter your values into the yellow cells. | [10 empty] | Reasonable Ranges |  |  |  |  | Sources
This simple calculator will give an estimate of a building's water consumption. Three uses are taken into account for this calculation, indoor water use, irrigation, and cooling. For the sake of simplicity, other water uses, such as pools or commercial kitchens are not included. COMPOSTING TOILETS / WATERLESS URINALS Projects can use a flow rate of "0" where composting toilets or waterless urinals are implemented. In this case, projects should provide a short explanation in section 4.9. | 4.1 - Benchmark Water | [10 empty] | Water Use Intensity by Building Type (gal / sf / yr - except where noted) |  |  |  |  | Source: EPA Energy Start Data Trends
Source: CBECS Table W1. Water consumption 2012
|  |  | Total Annual Water Use | 0 | gal / yr |  |  | Daily Avg Occupancy | 0 |  |  | Building Type | Low | High |  |  | Source: Savetexaswater.org Analysis
|  |  | Water Use Intensity | 0 | gal / sf / yr |  |  | Annual days of operations | 0 |  |  | Education | 10.95 | 18.25 |  |  | Sources: EPA WaterSense - Residential Water Use
[12 empty] | Enclosed and strip malls | 8.85 | 14.75
[12 empty] | Grocery Store | 17.775 | 29.625
| 4.2 - Predicted Indoor Water Use | [10 empty] | Inpatient | 37.2 | 62 |  |  | Typical Flow Rates
[12 empty] | Lodging | 31.275 | 52.125 |  |  | EPA WaterSense
[8 empty] | Water Use (gal) |  |  |  | Mercantile | 9.45 | 15.75 |  |  |  | Residential |  | Commercial
|  |  |  | Design Flow Rate |  | Use/Day/Occ (?) |  | Daily | Annual |  |  | Multifamily Housing | 31.5 | 52.5 |  |  |  | High | Low | High | Low
|  |  | Toilet |  | gpf | 0 |  | 0 | 0 |  |  | Office | 10.95 | 18.25 |  |  | Toilet | 1.6 | 1.1 | 1.6 | 1.1
|  |  | Urinal* |  | gpf | 0 |  | 0 | 0 |  |  | Outpatient | 11.7 | 19.5 |  |  | Sink | 1.5 | 1 | 0.5 | 0.5
|  |  | Shower |  | gpm | 0 |  | 0 | 0 |  |  | Public Assembly | 19.275 | 32.125 |  |  | Shower | 2.5 | 2 | 2 | 1.5
|  |  | Lavatory |  | gpm | 0 |  | 0 | 0 |  |  | Public order and safety | 31.575 | 52.625 |  |  | Urinal | x | x | 1 | 0.2
|  |  | Kitchen faucet |  | gpm | 0 |  | 0 | 0 |  |  | Religious Worship | 5.475 | 9.125 |  |  | Kitchen Sink | 2.2 | 1.8 | 2.2 | 1.28
[12 empty] | Restaurant | 161.25 | 268.75
[7 empty] | Total Predicted Indoor Water Use | 0 | 0 |  |  | Retail | 6 | 10 |  |  | The table to the left contains values that are +/- 25% from the benchmark.
[12 empty] | Senior Care | 45.15 | 75.25
|  |  | * If no urinal is provided for non-residential projects, enter the toilet flow rate for the urinal. | [8 empty] | Warehouse and storage | 2.55 | 4.25
|  |  | Enter "0" for waterless urinal. | [8 empty] | Single Family Residential | 300 gal / household / day
Determine the amount of water used for irrigation. Rainwater that falls on the site, but is not collected or stored for later reuse is taken into account in this calculation. Projects that have on-site rainwater collection and/or reuse infrastructure can take credit for it in Section 4.5. 1 - When "Pool, Spa, Water Feature" is listed under "Landscape Type", use "Not Applicable" for "Irrigation Type" to avoid a calculation error. 2 - Microspray may only be used on vegetation other than turfgrass if it meets the definition of ASABE/ICC 802 Landscape Irrigation Sprinkler and Emitter Standard, a micro irrigation emission device with one or more orifices to convert irrigation water pressure to water discharge with a flow rate not to exceed 30 gallons per hour (113.5 liters per hour) at the largest area of coverage available for the nozzle series when operated at 30 psi (206.8kPa). 3 - Lower quarter distribution uniformity (DULQ) – The measure of uniformity of irrigation water applied over an area. DULQ is the ratio of the average of the lowest 25 percent of measurements to the overall average measurement. | 4.3 - Predicted Design Oudoor Water Use
Water Requirements (KL)
|  |  |  | Are landscape features irrigated? |  |  | [5 empty] | Landscape Type | Low | Medium | High |  | Irrigation Calculation Methodology
[12 empty] | Groundcover | 0.2 | 0.5 | 0.7 |  | Source: EPA WaterSense Budget Tool
|  |  |  | Total Irrigated Area (Potable and/or Non-Potable) |  | sf | ERROR: Area Irrigated is Larger than Area Vegetated |  |  |  |  | Pool, Spa, Water Feature | 0.8 | 0.8 | 0.8
|  |  |  | Peak Irrigation Month |  |  | Use EPA's Water Budget Data Finder Site |  |  |  |  | Shrubs | 0.2 | 0.5 | 0.7
|  |  |  | Monthly Evapotranspiration (ETo) |  | in | to enter region specific ETo and rainfall |  |  |  |  | Trees | 0.2 | 0.5 | 0.9
|  |  |  | Average Monthly Rainfall |  | in | [5 empty] | Turfgrass | 0.6 | 0.7 | 0.8
|  |  |  | Peak Irrigation Monthly Baseline | 0 | gal
|  |  |  | Monthly Landscaping Water Allowance (LWA) | 0 | gal
|  |  |  | Annual Landscaping Water Allowance (LWA) | 0 | gal
[12 empty] | Irrigation Type | Distributed Uniformity (DU LQ ) 1
[9 empty] | LWRH for Hydrozone (gal) |  |  | Drip - Press Comp | 90%
|  | Hydrozone Area (SF) | Landscape Type | Water Use | Irrigation Type1 | KL |  | DULQ 3 | Monthly | Annual |  | Drip - Standard | 70%
|  | 0 | Turfgrass | [7 empty] | Ensure "Water Use" and Irrigation Type columns are filled in. | Fixed Spray | 65%
[12 empty] | Microspray | 70%
[12 empty] | Not Applicable | 65%
[11 empty] | See Note 1. | Rotor/Rotating Nozzles | 70%
Fixed spray irrigation is only allowed for Turfgrass
[12 empty] | Allowable Irrigation Type | Drip-Std | Drip-Press | Fixed | Micro
[12 empty] | Groundcover | x | x |  | x2
[12 empty] | Shrubs | x | x |  | x2
|  | 0 | Must Equal Total Irrigated Area |  |  |  |  | Total Landscape Water Requirement (LWR) | 0 | 0 |  | Trees | x | x |  | x2
[8 empty] | Percent Reduction in Outdoor Water Use |  |  |  | Turfgrass | x | x | x | x
This section is an extremely rough estimate of the water consumption of a cooling tower. 1 - Assume: 0 water for non-potable use, 25% less water for conservation strategies. Examples of strategies for conserving cooling tower water include: using alternative sources of water, optimizing the cycles of concentration and minimizing bleed volume, minimizing drift, and preventing overflows and leaks. | 4.4 - Predicted Cooling Tower Water Use
[12 empty] | Nation Average - Buildings with cooling towers use 7 gallons of water more (per sf annually) than those without. |  |  |  |  | Source: CBECS Table W1. Water consumption 2012
|  |  |  | Percent of the building cooled by a water-cooled chiller |  |  |  | Use Dropdown to make selection.
|  |  |  | Cooling tower water use intensity | 0 | gal/sf/yr
[5 empty] | 0 | gal/yr
|  |  |  | Does the cooling tower use potable water? |  |  |  | Use Dropdown to make selection.
|  |  |  | Were strategies taken to conserve cooling tower water? 1 |  |  |  | Use Dropdown to make selection.
|  |  |  | Total Annual Cooling Tower Water Use |  | gal/yr
Enter the monthly modeled and measured water consumption for each water source. Leave cells blank where you do not have a value, DO NOT INPUT TEXT (i.e. n/a, na, -, none, or other). 1 - Predicted demand water use is pre-entered from the above calculator and only takes into account bathroom use, irrigation, and an order of magnitude estimate for cooling tower use. (Note: Due to complexity and variability, water used in restaurants, laboratories, or industrial processes, is not taken into account.) 2 - Measured potable use can come from utility bills. 3 - For reclaimed and rainwater, only include the nonpotable water that is reused for another purpose (gray/black/purple pipe) and offsets a potential potable use, such as irrigation, condensate, foundation water, or other sources not already accounted for in this calculator. | 4.5 - Account for Rainwater and Reclaimed Water (Grey/Black)
In most cases, the lower percent of potable water uses, the better.
|  |  | Predicted (gal) |  |  |  |  | Measured (gal)
|  | Month | Demand1 | Potable | Rainwater 3 | Reclaimed 3 |  | Demand1 | Potable 2 | Rainwater 3 | Reclaimed 3
|  | January | [5 empty] | 0
|  | February | [5 empty] | 0
|  | March | [5 empty] | 0
|  | April | [5 empty] | 0
|  | May | [5 empty] | 0
|  | June | [5 empty] | 0
|  | July | [5 empty] | 0
|  | August | [5 empty] | 0
|  | September | [5 empty] | 0
|  | October | [5 empty] | 0
|  | November | [5 empty] | 0
|  | December | [5 empty] | 0
|  | Total Annual (gal) | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Percent of Demand
This table shows how the predicted water use from the calculators above compares with the benchmark. | 4.6 - Annual Potable Water Use Summary
Annual Potable Water Use
|  |  | Total | Per Occupant | Water Use Intensity
|  |  | (gal/yr) | (gal/occupant/yr) | (gal/sf/yr) |  |  | Potable Water Use
|  | Benchmark | 0 |  | 0 |  |  | Reduction
|  | Predicted | 0 |  |  |  | Predicted |  |  |  |  | Negative values for percent reduction indicates an increase in water use from the benchmark
|  | Measured | 0 |  |  |  | Measured
Step 1: Choose the applicable stormwater event from the dropdown and enter the corresponding inches of rainfall. You can use the table to the right or you can use historical rainfall data to calculate an appropriate percentile rain event. Step 2: Enter the total volume of onsite storage, either a cistern or a retention pond. Step 3: Enter the area for each site surface type. | 4.7 - Stormwater Managed On-site
[12 empty] | 2yr 24h Storm Events |  |  |  |  | Storm Events
|  | Type of Storm Event |  |  |  |  | [5 empty] | City | Inch | Surface |  | Runoff Co.
|  | Storm Event |  |  |  | in | [5 empty] | Atlanta | 3.6 | Metal Roof |  | 0.90 - 0.95 | NOAA Precipitation Frequency Data Server
|  | Storm Event |  |  | 0 | ft | [5 empty] | Chicago | 2.4 | Asphalt Roof |  | 0.85 - 0.90 | For a 2yr-24hr storm event, use the map to find your location and then find the required storm event by finding the 2-year column and 24-hour row in the table.
|  | Stormwater Storage |  |  |  | cf | [5 empty] | Cleveland | 2 | Gravel Roof |  | 0.80 - 0.85
[12 empty] | Dallas | 3.7 | Green Roof |  | 0.25 - 0.50
|  |  |  | Surface | Runoff Co. |  | Area (sf) | Stormwater (cf) | Total Runoff (cf) |  |  | Denver | 1.4 | Concrete |  | 0.70 - 0.95
|  |  |  | Roof | 0.9 |  | 0 | 0 | 0 |  |  | Helena | 1.4 | Asphalt |  | 0.70 - 0.95 | Runoff
|  |  |  | Impervious | 0.9 |  | 0 | 0 | 0 |  |  | Houston | 4.6 | Bricks |  | 0.70 - 0.85 | Run Coefficient Table
|  |  |  | Turf | 0.2 |  | 0 | 0 | 0 |  |  | Las Vegas | 0.8 | Pavers |  | 0.60 - 0.80 | This resource goes into detail on surface conditions and soil type
|  |  |  | Native Plantings | 0.05 |  | 0 | 0 | 0 |  |  | Los Angeles | 2.2 | Turf |  | 0.15- 0.30
|  |  |  | Semi-Pervious | 0.5 |  | 0 | 0 | 0 |  |  | Memphis | 3.8 | Native plants |  | 0.05 - 0.25
|  |  |  | Sub Total |  |  | 0 | 0 | 0 |  |  | Miami | 5.4 | Sandy soil |  | 0.05 - 0.25
|  |  |  | After Storage |  |  |  |  | 0 |  |  | New York | 3.4 | Clay-y soil |  | 0.15 - 0.45
|  |  |  | Percentage of Stormwater Managed On-site | [7 empty] | Philadelphia | 3 | Forest |  | 0.05 - 0.25
Choose the most applicable option from the dropdown. This is a simple way to self assess the quality of stormwater leaving the site. | 4.8 - Water Runoff Quality | [10 empty] | Runoff Type | Score |  | Water Quality
[12 empty] | Parking areas | 1 | 20% | Poor
|  |  |  | Estimated Water Runoff Quality | [7 empty] | Hardscape | 2 | 40% | Baseline
[12 empty] | Vegetated Area | 3 | 60%
|  |  |  | Runoff Quality Score | [7 empty] | Natural filtration (bio-swales or retention ponds) | 4 | 80% | High Performing
[12 empty] | Mechanically filtered and released | 5 | 100% | Very High Performing
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 4.9 - Nonconformity Statement

## 5 - Economy
5 - Design for Economy
Explanations | Calculators: Enter your values into the yellow cells. |  |  |  |  | Reasonable Ranges |  |  | Sources
Enter the published cost to construct similar buildings in the region and list the source. | 5.1 - Construction Cost Benchmark | [7 empty] | BOMA maintenance costs
|  | Benchmark - Building Type Specific |  | $/sf | Benchmark Source
|  | Actual construction cost |  | $/sf
Construction Cost Reduction from the Benchmark
There are many design strategies for reducing building operating costs. Include design strategies, along with their estimated numerical impact here. This should be pretty rough and is most valuable as a thought exercise. The cost savings from utilities are already populated. | 5.2 - Estimated Operating Cost Reduction |  |  |  |  | US Office Building O+M Cost Benchmarks (BOMA Report 2016)
|  | Operating and Maintenance Cost Reduction Strategies |  |  |  | Utilities | 2.16 | /sf/yr
|  | From utility savings | 0 | $/year | Major Strategy | Administrative | 1.45 | /sf/yr
|  | From cleaning |  | $/year | Major Strategy | Cleaning | 1.52 | /sf/yr
|  | Durability investments |  | $/year | Major Strategy | Parking | 0.61 | /sf/yr
|  | Other |  | $/year | Major Strategy | Roads and grounds | 0.25 | /sf/yr
|  | Other |  | $/year | Major Strategy | Repairs and maintenance | 2 | /sf/yr
|  | Total | 0 | $/year |  | Total | 7.99 | /sf/yr
An efficient building will use fewer resources to construct, operate, and maintain. Enter the typical building efficiency ratio for the building type as a benchmark, the source of the benchmark, and the efficiency ratio achieved. | 5.3 - Building Space Efficiency | [7 empty] | GSA Workspace Utilization and Allocation
|  | Efficiency ratio Benchmark - Building Type Specific |  |  | Benchmark Source
|  | Efficiency ratio achieved |  |  | Major Strategy
Efficiency ratio percent improvement
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 5.4 - Nonconformity Statement

## 6 - Energy
6 - Design for Energy
Explanations | Calculators: Enter your values into the yellow cells. | [6 empty] | Reasonable Ranges |  | Sources
Benchmarks will auto-fill from the Introduction or the Reference Tables tab. | 6.1 - Benchmark and Energy Modeling Tool Information
|  |  | Benchmark Site EUI | 0 | kBtu/sf/yr
|  |  | Benchmark Site Annual Energy | 0 | kBtu/yr
|  |  | Benchmark Operational Carbon | 0 | kg CO2e/yr
|  |  | Benchmark Operational Carbon Intensity | 0 | kg CO2e/sf/yr
Use these cells to document the tools and reference codes used to calculate predicted energy consumption.
|  |  | Was ASHRAE Standard 90.1 used to determine pEUI? |  |  |  | 
|  |  | What version of ASHRAE Standard 90.1 was used? |  |  |  | 
Other:
|  |  | What tool was used to model energy? |  |  |  | 
Other:
What is the tool version?
For Predicted Monthly Energy Use: DO NOT USE TEXT, ONLY NUMERALS. Step 1 - Select Net or Gross Metering for monthly data inputs. Step 2 - For projects using Chilled Water for cooling, use the dropdown to assign the appropriate carbon conversion factor by system type. The default is a natural gas absorption chiller. Step 3 - Enter the local energy cost for each fuel type if available. The cost of renewables is calculated as negative. Step 4 - Select and confirm the unit of measurement for each fuel type, i.e. kWh or kBTU of grid electricity. Step 5 - Confirm which consecutive 12 months of data you will provide in the table. You can use the nearest 12 consecutive months instead of Jan-Dec. Step 6 - Fill out the predicted energy consumption or generation per fuel type. Use energy model outputs for predicted energy. If a fuel type was not used, leave the monthly inputs as Zero. | 6.2- Predicted Energy Consumption and/or Generation | [6 empty] | See the benchmarking page for reasonable ranges. |  | Fuel Cost Sources
EIA - Electricty Costs
|  |  | Type of Metering Used |  |  |  |  | EPA - Energy Conversions |  | EIA - Natural Gas Costs
|  |  | District Chilled Water Type (if applicable) | District Chilled Water - Natural Gas Absorption Chiller |  |  |  | Energy Unit | kBtu Conversion Factor | National Average Values for Operational Carbon Emissions
[8 empty] | kBtu | 1 | Electricity | 0.11821
|  | Monthly Energy Data by Fuel Type | [5 empty] | MBtu | 1000 | Natural Gas | 0.05311
|  |  | Grid Electricity | Natural Gas | District Chilled Water | District Steam | On-Site Generation | GJ | 947.817 | Propane | 0.06425
|  | (?) Cost of Energy | 0.12 | 0.94 | 0.18 | 9.39 | -0.02 | kWh | 3.4121 | Fuel Oil | 0.07421
|  | (?) Unit of Measurement  | kWh | MBtu | MBtu | kLbs | kWh | MWh | 3412.14 | District Steam / Hot Water | 0.0664
[8 empty] | Lbs | 1.194 | District Chilled Water - Electric Driven | 0.0527
|  | Month | [5 empty] | kLbs | 1194 | District Chilled Water - Natural Gas Absorption Chiller | 0.07389
|  | January | [5 empty] | MLbs | 1194000
|  | February | [5 empty] | Therms | 100
|  | March | [5 empty] | kg | 2.632
|  | April | [5 empty] | Ton Hours | 12
|  | May | [5 empty] | cf | 1.026
|  | June | [5 empty] | ccf | 102.6
|  | July | [5 empty] | kcf | 1026
|  | August | [5 empty] | Cubic Meters | 36.303
September
October
November
December
|  | Annual Energy by Fuel Type | 0 | 0 | 0 | 0 | 0
|  | kBTU Conversion Factor | 3.4121 | 1000 | 1000 | 1194 | 3.4121
|  | Annual Energy in kBtu/yr | 0 | 0 | 0 | 0 | 0
|  | Carbon Conversion Factor | 0.11821 | 0.05311 | 0.07389 | 0.0664 | -0.11821
|  | Operational Carbon in kg-CO2e/yr | 0 | 0 | 0 | 0 | 0
For Measured Monthly Energy Use: DO NOT USE TEXT, ONLY NUMERALS. Step 1 - Same as Predicted Step 2 - Same as Predicted Step 3 - Same as Predicted Step 4 - Same as Predicted Step 5 - Confirm which consecutive 12 months of data you will provide in the table. You can use the nearest 12 consecutive months instead of Jan-Dec. Step 6 - Fill out the measured energy consumption or generation per fuel type. Use utility bill for measured energy. | 6.3 - Measured Energy Consumption and/or Generation
|  |  | Is the building all electric? |  |  |  | 
|  |  | Type of Metering Used |  |  |  | 
|  |  | Did the project achieve its 2030 Commitment reduction target? |  |  |  |  | 2030 Reduction Targets
|  |  | (including on-site renewables) |  |  |  |  | 70% reduction by 2015
80% reduction by 2020
|  |  | District Chilled Water Type (if applicable) | District Chilled Water - Natural Gas Absorption Chiller |  |  | 
Monthly Energy Data by Fuel Type
|  |  | Grid Electricity | Natural Gas | District Chilled Water | District Steam | On-Site Generation
|  | (?) Cost of Energy | 0.12 | 0.94 | 0.18 | 9.39 | -0.02
|  | (?) Unit of Measurement  | kWh | MBtu | MBtu | kLbs | kWh
Month
January
February
March
April
May
June
July
August
September
October
November
December
|  | Annual Energy by Fuel Type | 0 | 0 | 0 | 0 | 0
|  | kBTU Conversion Factor | 3.4121 | 1000 | 1000 | 1194 | 3.4121
|  | Annual Energy in kBtu/yr | 0 | 0 | 0 | 0 | 0
|  | Carbon Conversion Factor | 0.11821 | 0.05311 | 0.07389 | 0.0664 | -0.11821
|  | Operational Carbon (kg-CO2e / yr) | 0 | 0 | 0 | 0 | 0
6.4 - Annual Energy Use Summary
|  | Energy |  | Predicted | Measured
|  |  | Gross Annual Consumption | 0 | 0 | kBtu/yr
|  |  | Gross Annual Generation | 0 | 0 | kBtu/yr
|  |  | Net Annual | 0 | 0 | kBtu/yr
|  |  | Gross Energy Use Intensity |  |  | kBtu/sf/yr
|  |  | Net per Area |  |  | kBtu/sf/yr
|  |  | Percent Reduction from Benchmark (Inclusive of Renewables) |  |  |  |  | Negative values for percent reduction indicates an increase in energy use.
Percent of Total Energy from Renewable Energy
Operational Carbon
|  |  | Annual Operational Carbon | 0 | 0 | kg-CO2e/yr
|  |  | Annual Operational Carbon Intensity |  |  | kg-CO2e/sf/yr
Percent Reduction from Benchmark (Inclusive of Renewables)
Cost
|  |  | Net Annual Cost | 0 | 0 | $
Step 1: Calculate the total installed lighting power density for your building. Step 2: The benchmark value is auto-filled from the Referenced Tables tab. | 6.5 - Lighting Power Density (LPD) | [6 empty] | Use IECC 2021 as the benchmark |  | LPD Tables by Space
|  | Installed (LPD) |  | W/sf |  |  |  | Best practice is to achieve at least a 20% reduction from the benchmark
|  | Benchmark (LPD) | 0 | W/sf
LPD Reduction
Record your building's window wall ratio as a percent value by orientation or as a building aggregate. | 6.6 - Window Wall Ratio (WWR) | [6 empty] | 30% to 40% is ideal. A higher WWR will significantly increase energy use without improving daylighting. |  | CBECS Table C4. Sum of major fuel consumption and expenditure gross energy intensities , 2012
|  | North |  | % | East |  | %
|  | South |  | % | West |  | %
|  | Building Aggregate |  | %
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 6.7 - Nonconformity Statement

## 7 - Well-Being
7 - Design for Well-Being
Explanations | Calculators: Enter your values into the yellow cells. |  |  |  | Reasonable Ranges |  |  |  |  | Sources
Step 1: Input the area of occupied spaces that have access to views, operable windows, daylight, and compliance with the annual solar exposure area criteria. For quality views, include workstations that have a direct line of sight to nature. | 7.1 - Daylighting and Quality Views | [5 empty] | Operable Windows
[6 empty] | Views |  | Daylight | Glare
|  | Total area of regularly occupied space | 0 | sf | Good | >75% | 60% | >65% | >10%
|  | Percent of building that is regularly occupied |  |  | Better | >90% | 80% | >75% | 2-10%
[5 empty] | Very High Performing | 100% | 100% | >85% | <2%
Daylighting
|  | Daylit area (sDA 300/50%) |  | sf
|  | Annual Glare Compliant Area (ASE 1000,250) |  | sf
|  | Daylight sensors installed? |  | 
Percent of Regularly Occupied Area sDA Compliant (sDA 300/50%)
Percent of Regularly Occupied Area ASE Compliant (ASE 1000,250)
Quality Views
|  | Area with quality views |  | sf
Percent of Regularly Occupied Area with Quality Views
For operable windows, include area associated with work stations within 25' of an operable window. | 7.2 - Occupant Control | [5 empty] | Individual Light Control
[6 empty] | Task Lights |  |  | Thermostats
|  | Operable Windows |  |  | Baseline | No | none |  | Smaller numbers are better
|  | Are operable windows used? |  |  | Good |  | 50%
|  | Area within 25 feet of an Operable Window |  | sf | Better |  | 75%
|  | Percent of Regularly Occupied Area with Access to Operable Windows |  |  | Very High Performing | Yes | 100%
Thermal Control
|  | Can occupants access and adjust thermostats? |  | 
|  | Area with Ability to Access and Adjust Thermostats |  | sf
Percent of Regularly Occupied Area with Individual Thermal Control
Lighting Control
|  | Do occupants have task lights? |  | 
Area with Task Lights
Percent of Regularly Occupied Area with Lighting Control
Input information on indoor air quality measurements. | 7.3 - Indoor Air Quality Management |  |  |  |  | Max. Concentration
[5 empty] | Contaminant |  | All Spaces | Healthcare |  | See USGBC LEED v4 Table
|  | If the project is in a humid climate, is standalone dehumidification installed? |  |  | Particulates | PM10 | 50 | 20 | ug/m3 | Table 1. Maximum concentration levels, by contaminant and testing method
|  | What level of air filters are installed? |  |  | Particulates | PM2.5 | 15 | 15 | ug/m3
|  | Other: |  |  | Ozone | O3 | 0.075 | 0.75 | ppm
[5 empty] | Carbon monoxide | CO | 9 | 9 | ppm | CO2 Sensor Monitoring Methodology
|  | Contaminant Monitoring |  |  | Total Volatile Organic Compounds | VOCs | 500 | 200 | ug/m3 | ASHRAE 62.1–2010, Appendix C
|  | Is air quality monitored on an on-going basis? |  |  | Formaldehyde | CH2O | 27 | 16.3 | ppb
[5 empty] | Targeted Volatile Organic Compounds | See USGBC LEED v4 Table
Which IAQ Contaminants are monitored?
|  | PM2.5 |  | 
|  | PM10 |  | 
|  | Ozone |  | 
|  | CO |  | 
|  | Formaldehyde |  | 
Other:
Carbon Dioxide (CO2) Monitoring
|  | Is CO2 measured? |  | 
|  | What is the design goal for maximum CO2 when spaces are fully occupied? |  | ppm
|  | What is the maximum measured CO2 when spaces are fully occupied? |  | ppm
|  | Is this goal relative to outdoor CO2 levels or an absolute value? |  | 
|  | No. of densely occupied spaces (>25 people/1000 sf) in the project? |  | qty
|  | No. of densely occupied spaces with CO2 sensor monitoring? |  | qty
|  | Percent of densely occupied spaces with CO2 sensor monitoring? |  | %
Targeted Volatile Organic Compounds Monitoring
|  | Is VOC measured? |  | 
|  | Max Measured VOC Level |  | ppb
Input the total number of materials that have a third-party health certification in the yellow box. Note: HPD is not always a third-party health certification. It can be third party, but can also be self-reporting, and it's not a certification, it's a transparency label. -AND/OR- Input how chemicals were avoided per banned list certification, standard, or label. | 7.4 - Healthy Materials Inventory | [8 empty] | Declare
[6 empty] | No. of Products/Materials |  |  |  | HPD Collaborative
|  | Third-Party Certification, Standard, or Label Material/Product | Quantity |  | Poor | < 20 |  |  |  | Cradle to Cradle
|  | Declare |  |  | Best Practice | >40 |  |  |  | Level
|  | Health Product Declaration |  |  | Better | >60 |  |  |  | UL Lense
|  | Cradle to Cradle |  |  | Very High Performing | >80 |  |  |  | Living Product Challenge
Level
UL Product Lense
|  | Living Product Challenge | [7 empty] | Living Building Challenge Red List
|  | Other: | [7 empty] | Six Classes
|  | Other: | [7 empty] | WELL Building Standard
|  | Other: | [7 empty] | Healthier Hospitals Initiative Safer Chemicals
|  | No. of Materials/Products | 0 | [6 empty] | Kaiser Permanente Facilities Design Program
Harvard's Green Building Standards
|  | Were materials and products selected using a banned list approach? |  | 
Identify banned list programs that influenced healthy material selection:
|  | Living Building Challenge Red List |  | 
|  | Six Classes |  | 
|  | WELL Building Standard |  | 
|  | Healthier Hospitals Initiative Safer Chemicals |  | 
|  | Kaiser Permanente Facilities Design Program |  | 
|  | Harvard's Green Building Standards |  | 
|  | Other: |  | 
|  | Other: |  | 
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 7.5 - Nonconformity Statement

## 8 - Resources
8 - Design for Resources
Explanations |  | Calculators: Enter your values into the yellow cells. |  |  | Reasonable Ranges | [6 empty] | Sources
8.1 - Operational Carbon (Reference from 6-Energy)
|  |  | Predicted | Measured
|  | Annual Operational Carbon | 0 | 0
Annual Operational Carbon Intensity
Percent Reduction from Benchmark (Inclusive of Renewables)
How much floor area was already existing? | 8.2 - Building Reuse ¦ Life Span |  |  |  | Whenever possible, existing buildings should be reused.
|  | Total Floor Area Reused |  | sf
|  | Percent of Building Reused |  | %
There are a variety of tools for estimating the embodied carbon of an entire building. The simplest is Build Carbon Neutral, which only takes a few minutes and inputs. For a more detailed analysis, try Tally or Athena | 8.3 - Embodied Carbon ¦ Tools and Scope |  |  |  | Building Type | kg CO2e/sf | [5 empty] | deQo database of embodied quantity outputs. MIT Building technology program
[6 empty] | Low | Low | Avg | Avg | High | High
|  | Was embodied carbon modeled? |  |  | Single family | 138 | 12.8253 | 277 | 25.7435 | 512 | 47.5836
[5 empty] | Multifamily low-rise | 127 | 11.803 | 159 | 14.777 | 202 | 18.7732 |  | Conversion factors are as follows:
|  | What tool was used? |  |  | Multifamily mid-rise | 134 | 12.4535 | 168 | 15.6134 | 647 | 60.1301 | Build Carbon Neutral | kg/m2 to lb/ft2
|  | Other: |  |  | Multifamily high-rise | 111 | 10.316 | 257 | 23.8848 | 424 | 39.4052 |  | 0.20482
|  | What is the tool version? |  |  | Office | 86 | 7.9926 | 329 | 30.5762 | 661 | 61.4312 | Carbon Leadership Forum
|  | Does your tool include biogenic carbon?(?) |  |  | Educational | 109 | 10.1301 | 389 | 36.1524 | 927 | 86.1524 |  | 4.8824
[5 empty] | Healthcare | 118 | 10.9665 | 378 | 35.1301 | 652 | 60.5948
|  | What is Included in the LCA System Boundary? |  |  | Cultural/Institutional | 33 | 3.0669 | 418 | 38.8476 | 910 | 84.5725 |  | kg/m2 to kg/ft2
|  | Product (A1-A3) |  |  | Civic building | 106 | 9.8513 | 240 | 22.3048 | 436 | 40.5204 |  | 10.76
|  | Construction (A4-A5) |  |  | Lodging | 153 | 14.2193 | 356 | 33.0855 | 542 | 50.3717 |  | 0.092937
|  | Use (B1-B5) |  |  | Industrial | 535 | 49.7212 | 741 | 68.8662 | 1177 | 109.3866
|  | End of Life (C1-C4) |  |  | Public Assembly | 127 | 11.803 | 377 | 35.0372 | 935 | 86.8959
|  | Beyond (D) |  |  | Mixed Use (Residential/Office/Retail) | 176 | 16.3569 | 380 | 35.316 | 870 | 80.855
|  | Indicate the LCA Scope |  |  | Structural System Type | kg CO2e/sf
|  | Substructure |  |  |  | Low | Low | Avg | Avg | High | High
|  | Superstructure |  |  | Steel | 127 | 11.803 | 371 | 34.4796 | 979 | 90.9851
|  | Enclosure |  |  | Concrete | 111 | 10.316 | 361 | 33.5502 | 668 | 62.0818
|  | Interiors |  |  | Timber | 47 | 4.368 | 244 | 22.6766 | 437 | 40.6134
|  | MEP Systems |  |  | Masonry | 209 | 19.4238 | 272 | 25.2788 | 370 | 34.3866
|  | Site/Landscape |  |  | Composite Concrete - Steel | 86 | 7.9926 | 355 | 32.9926 | 743 | 69.052
|  | Other: |  |  | Hybrid - 50% Timber + 50% Steel | 87 | 8.0855 | 307.5 | 28.5781 | 708 | 65.7993
[5 empty] | Hybrid - 50% Timber + 50% Concrete | 79 | 7.342 | 302.5 | 28.1134 | 552.5 | 51.3476
|  | Major Structural System?(?) |  | 
| 8.4 - Embodied Carbon ¦ Calculations and Strategies |  |  |  | Higher Embodied Carbon Score is better.
|  | Total Predicted Embodied Carbon |  | kg CO2e
|  | Embodied Carbon Intensity |  | kg CO2e / sf
Major Strategies for Reducing Embodied Carbon
|  | Wood Structure |  | 
|  | Optimized Concrete Admixtures |  | 
|  | Reduction in Total Materials |  | 
|  | Low-Carbon Insulation |  | 
|  | Low-Carbon Exterior Cladding Material |  | 
|  | Reduction in Glazing |  | 
|  | Low-Carbon Refrigerants |  | 
Other:
|  | Embodied Carbon Reduction Score | 0%
"An Environmental Product Declaration (EPD) is a document that communicates verified, transparent and comparable information about the life-cycle environmental impact of products." - International EPD System List EPD (or similar certifications) collected for materials used and tally up the total number. | 8.5 - Environmental Product Declarations (EPDs) |  |  |  | For materials with EPDs or similar certification, the more the better. | [6 empty] | Environmental Product Declaration (EPD)
|  | Type of EPD | Quantity
Industry-Wide
Product Specific Type III, Internally Reviewed
Product Specific Type III, Externally reviewed
|  | No. of EPDs Collected | 0
Weighing and recording dumpster fills during construction is best practice, but a good estimate will do as well. | 8.6 - Construction Waste Diversion |  |  |  | Percent Waste Diverted | [6 empty] | Living Building Challange: Net Positive Waste
50% - Good
|  | Percent of Construction Waste Diverted |  | % | 75% - Better
|  | Is the above number estimated or measured? |  |  | 90% - Best!
Estimate the total value of materials that were recycled, local, or certified by third-party programs. Local Materials: Don't worry about staying in a specific radius from the site. Use your best judgment to determine which materials were harvested or manufactured "locally" Recycled Materials: Include all materials that contain some component or ingredient that is reused or recycled. Reused/Salvaged Materials: Materials can be found on or off-site Biobased Materials: The definition and percentage of biobased materials, by weight, is determined by ASTM D6866. Sustainably Harvested Wood: How many wood products not reused, salvaged, or recycled, are certified to the standards of the Forest Stewardship Council (FSC)? | 8.7 - Recycled ¦ Regional ¦ Reused ¦ Third-Party Certification Materials |  |  |  | Generally, the more reused, recycled, FSC certified and/or local materials, the better.
|  | Total Construction Cost | 0 | $
|  | Total Materials Cost |  | $
|  | Are the costs in this section estimated or actual? |  | 
Recycled Materials
|  | Cost of Recycled Materials |  | $
Percent of Materials Recycled
Regional Materials
|  | Cost of Regional Materials |  | $
Percent of Materials Regional
Reused/Salvaged Materials
|  | Cost of Reused/Salvaged Materials |  | $
Percent of Materials Reused/Salvaged
Biobased Materials
|  | Cost of Biobased Materials |  | $
Percent of Materials Biobased
Sustainably Harvested Wood
|  | How much of installed wood is FSC Certified? |  | 
Percentage of Installed Wood that is FSC Certified
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 8.8 - Nonconformity Statement
A1
A2
A3
A4
A5
B1
B2
B3
C1
C2
C3
D
B4
B5
C4

## 9 - Change
9 - Design for Change
Explanations |  | Calculators: Enter your values into the yellow cells. |  |  | Reasonable Ranges |  |  | Sources
Choose the local hazards researched | 9.1 - Local Hazard Research |  |  |  | Local Hazard Research
[5 empty] | Baseline | 0
|  | Was research conducted on the most likely local hazards? |  |  | Fine | 1
|  | Hail |  |  | Good | 2
|  | Earthquakes |  |  | Better | 3
|  | Drought |  |  | High Performing | 4
|  | Extreme Temperatures |  |  | Very High Performing | >5
|  | Flooding |  | 
|  | Pandemic / Epidemic |  | 
|  | Social Unrest |  | 
|  | Power Outage |  | 
|  | Grid Instability |  | 
|  | Other: |  | 
|  | Research Score | 0%
Choose the most relevant description of passive functionality and type of backup power from the dropdown to determine your resiliency score. | 9.2 - Resiliency |  |  |  | Passive Functionality
[5 empty] | Not Habitable without Power | 0 | 0%
|  | Choose passive functionality | Full Backup Power |  | Passive Survivability | 1 | 33%
|  | Passive Functionality Score | 100% |  | Partial Backup Power | 2 | 66%
[5 empty] | Full Backup Power | 3 | 100%
|  | Type of Backup Power | None | 
|  | Backup Power Score |  |  | Type of Backup Power
[5 empty] | Fossil Fuel Generator | 0 | 0%
|  | Resiliency Score | 100% |  | Grid Energy w/Battery | 1 | 50%
[5 empty] | Renewable Energy w/Battery | 2 | 100%
None
Input the building's design lifespan. The design lifespan is based on a variety of design choices such as material durability, functional adaptability, and water management. | 9.3 - Building Lifespan |  |  |  | Building Design Lifespan
[5 empty] | Market rate stick frame | 30 year
|  | Building design lifespan |  | Yrs | Typical single family | 50 years
|  | Was the building designed for disassembly? |  |  | Concrete, Steel, or Heavy timber | 200 years
[5 empty] | Solid Masonry | 1000 years
Projected No. of Years before Requiring Major Investment
|  | Enclosure |  | Yrs | For the most part, the longer the lifespan, the better.
|  | MEP Systems |  | Yrs
|  | Interior Fit-out |  | Yrs
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 9.4 - Nonconformity Statement

## 10 - Discovery
10 - Design for Discovery
Explanations |  | Calculators: Enter your values into the yellow cells. |  |  | Reasonable Ranges |  |  | Sources
| 10.1 - Level of Commissioning |  |  |  | The higher the score, the better
Which of the following did you do to stay engaged with the building?
|  | Basic Commissioning |  | 
|  | Continuous Commissioning |  | 
|  | Enclosure Commissioning |  | 
|  | Enhanced Commissioning (Third Party) |  | 
|  | Monitoring-Based Commissioning |  | 
|  | Commissioning Score | 0%
Select all the post occupancy strategies that were employed. | 10.2 - Level of Post Occupancy Engagement |  |  |  | The higher the score, the better
Which of the following did you do to stay engaged with the building?
|  | Contact the owner / Occupant to see how things are going |  | 
|  | Obtain utility bill to determine actual performance |  | 
|  | Survey building occupants on satisfaction |  | 
|  | Formal onsite daylight measurements |  | 
|  | Share collected data with building occupants |  | 
|  | Formal post occupancy air quality testing |  | 
|  | Data logging of indoor environmental measurements |  | 
|  | Post occupancy energy analysis |  | 
|  | Develop and share strategies to improve the building's Performance |  | 
|  | Teach occupants and operators how to improve building performance |  | 
|  | Post Occupancy Evaluation Score | 0%
Select all the transparency strategies that were employed. | 10.3 - Level of Transparency |  |  |  | The higher the score, the better
Which of the following did you do to share the lessons of the project?
|  | Present the design of the project to the office |  | 
|  | Present the design of the project to the profession |  | 
|  | Present the design of the project to the public |  | 
|  | Publish post occupancy data from the building |  | 
other:
|  | Present outcomes and lessons learned to the office |  | 
|  | Present outcomes and lessons learned to the profession |  | 
|  | Present outcomes and lessons learned to the public |  | 
|  | Publish any lessons learned from design, construction, or occupancy |  | 
other:
|  | Transparency Score | 0%
Select the level of occupancy feedback. | 10.4 - Level of Occupant Feedback |  |  |  | Level of Occupant Feedback
[5 empty] | Nobody | 0 | Baseline
|  | Who has access to performance feedback? |  |  | Building Operator | 1 | Fine
|  |  |  |  | Architect | 2 | Good
[5 empty] | Occupants who specifically request it | 3 | Better
|  | Feedback Score | 0% |  | Most occupants | 4 | High Performing
[5 empty] | All occupants are presented with feedback | 5 | Very High Performing
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 10.5 - Nonconformity Statement

## AIA COTE Top 10 Award Summary
This summary tab includes mandatory metrics for the AIA COTE Top 10 Awards application submission ONLY, see the Results Tab for a summary of all metrics.
AIA COTE Top Ten Award Mandatory Metric Summary
COTE_Super_Spreadsheet_Version_3.1.1.xlsx
3 - Design for Ecosystems
3.1 - Vegetated Area
Percent of Site Area Vegetated - Pre-Development
Percent of Site Area Vegetated - Post-Development
Increase in Percent of Vegetated Area - Post-Development
3.2 - Quality of Plantings
Percent of Vegetated Area with Native Plantings
4 - Design for Water
4.6 - Annual Potable Water Use Summary
| Water Use Intensity - Benchmark | 0 | gal / sf / day
| Water Use Intensity - Predicted |  | gal / sf / day
| Percent Reduction in Potable Water Use from Benchmark - Predicted |  | %
| Percent of Total Annual Water Demand Met Using Potable Sources - Predicted |  | %
| Percentage of Stormwater Managed On-site |  | %
5 - Design for Economy
5.1 - Construction Cost Benchmark
| Construction Cost per Square Foot |  | $/sf
6 - Design for Energy
6.3 - Measured Energy Consumption and/or Generation
| Is the building all-electric? | 0 | Y/N
| Did the project achieve its 2030 Commitment reduction target? | 0 | Y/N
| Project’s total carbon (embodied + operational) over 10 years |  | kg-CO2e
6.4 - Annual Energy Use Summary
| Percent Reduction (inclusive of renewables) from Benchmark - Measured |  | %
| Percent of Total Energy from Renewable Source - Measured |  | %
| Percent Reduction (inclusive of renewables) in Operational Carbon from Benchmark - Measured |  | %
7 - Design for Well-Being
7.1 - Daylighting and Quality Views
| Percent of Regularly Occupied Area that is Daylit (sDA 300/50%) |  | %
| Percent of Regularly Occupied Area that is ASE Compliant (ASE 1000,250) |  | %
| Percent of Regularly Occupied Area with Quality Views |  | %
7.2 - Occupant Control
| Percent of Regularly Occupied Area with Access to Operable Windows |  | %
7.3 - Indoor Air Quality Management
| What is the design goal for maximum CO2 when spaces are fully occupied? | 0 | ppm
| Is this goal relative to outdoor CO2 levels or an absolute value? | 0
8 - Design for Resources
8.2 - Building Reuse ¦ Life Span
Percent of reused floor area
8.3 - Embodied Carbon ¦ Tools and Scope
| Was embodied carbon modeled? | 0 | Y/N
8.4 - Embodied Carbon ¦ Calculations and Strategies
| What is the Project's Embodied Carbon Intensity? |  | kg-C02e / sf
8.7 - Recycled ¦ Regional ¦ Reused ¦ Third-Party Certification Materials
| Percentage of Installed wood that is FSC Certified |  | %
9 - Design for Change
9.1 - Local Hazard Research
| Research Score | 0% | %
9.2 - Resiliency
| Resiliency Score | 100% | %
10 - Design for Discovery
10.2 - Level of Post Occupancy Engagement
| Post Occupancy Evaluation Score | 0% | %
`

## Results
|  | Baseline | Response |  | Very High Performance
This page compares metrics against their benchmark along a scale from "Baseline" to "Very High Performance"
2 - Design for Equitable Communities
| Walk Score | 0% |  |  | 100% | THE BIG IDEA:
| Transit Score | 0% |  |  | 100%
| Bike Score | 0% |  |  | 100% |  | Hmm… I haven't thought about it.
| Community Engagement Score | 0% |  |  | 100%
| Transportation Carbon Percent Reduction | 0% |  |  | 100%
3 - Design for Ecosystems
| Percent of Site Area Vegetated - Post-Development | 0% |  |  | 100%
| Percent of Site Area Vegetated - Pre-Development | 0% |  |  | 100%
| Increase in Percent of Vegetated Area - Post-Development | 0% |  |  | 100%
| Percent of Vegetated Area with Native Plantings - Post Development | 0% |  |  | 100%
| Percent of Vegetated Area with Turfgrass - Post Development | 100% |  |  | 0%
| Ecological Design Score | 0% |  |  | 100%
4 - Design for Water |  |  | Predicted | Measured |  | Total Carbon Calculations
| Potable Water Use Reduction from Benchmark | 0% |  |  | 100%
| Percent Reduction in Outdoor Water Use | 0% |  |  | 100% |  | Total kg of Carbon Dioxide Equivalents from:
| Percentage of Stormwater Managed On-site | 0% |  |  | 100% |  |  | Lifespan |  | Energy/year | Building Materials | Total
| Runoff Quality Score | 0% |  |  | 100% |  |  | 1 | Year |  | 0
[8 empty] | 10 | Year |  | 0
5 - Design for Economy |  |  | \ |  |  |  |  | 30 | Year |  | 0
| Construction Cost Reduction from the Benchmark | 0% |  |  | >50% |  |  | 60 | Year |  | 0
| Efficiency Ratio Percent Improvement | 0% |  |  | >50% |  | Design | 0 | Year |  | 0
6 - Design for Energy |  |  | Predicted | Measured |  |  | Total Percentage of Carbon Dioxide Equivalents from:
| Percent Reduction (Inclusive of Renewables) | 0% |  |  | >100% |  |  | Lifespan |  | Energy/year | Building Materials | Total
| Percent of Total Energy from Renewable Energy | 0% |  |  | 100% |  |  | 1 | Year |  |  | 0%
| Percent Operational Carbon Reduction from Benchmark | 0% |  |  | 100% |  |  | 10 | Year |  |  | 0%
| Lighting Power Density % Reduction | 0% |  |  | 75% |  |  | 30 | Year |  |  | 0%
[8 empty] | 60 | Year |  |  | 0%
7 - Design for Well-Being | [6 empty] | Design | 0 | Year |  |  | 0%
| Percent of Regularly Occupied Area that is Daylit (sDA 300/50%) | 0% |  |  | 100%
| Percent of Regularly Occupied Area that is ASE Compliant (ASE 1000,250) | 0% |  |  | 100%
| Percent of Regularly Occupied Area with Quality Views | 0% |  |  | 100%
| Percent of Regularly Occupied Area with Access to Operable Windows | 0% |  |  | 100%
| Percent of Regularly Occupied Area with Individual Thermal Control | 0% |  |  | 100%
| Percent of Regularly Occupied Area with Lighting Control | 0% |  |  | 100%
| Is CO2 Measured? | No (0) | FALSE |  | Yes (1)
| Percent of Densely Occupied Area with Co2 Sensor Monitoring | 0% |  |  | 100%
| Is VOC measured? | No (0) | FALSE |  | Yes (1)
| Number of Materials with Third-Party Certification, Standard, or Label | 0 | 0 |  | >80
| Were materials and products selected using a banned list approach? | No (0) | FALSE |  | Yes (1)
8 - Design for Resources
| Percent of Building Reused | 0% |  |  | 100%
| Embodied carbon modeled | No (0) | FALSE |  | Yes (1)
| Total embodied carbon (kg-C02e) |  | 0
Embodied carbon intensity (kg-C02e / sf)
| Embodied Carbon Reduction Score | 0% | 0% |  | 100%
| No. of EPDs Collected | 0 | 0% |  | >10
| Percent of construction waste diverted | 0% |  |  | 100%
| Percent of Materials Recycled | 0% |  |  | 100%
| Percent of Materials Regional | 0% |  |  | 100%
| Percent of Materials Reused/Salvaged | 0% |  |  | 100%
| Percent of Materials Biobased | 0% |  |  | 100%
| Percent of installed wood that is FSC Certified | 0% |  |  | 100%
9 - Design for Change
| Research Score | 0% |  |  | 100%
| Resiliency Score | 0% | 100% |  | 100%
| Building Design Lifespan | 30 |  |  | 200
10 - Design for Discovery
| Commissioning Score | 0% |  |  | 100%
| Post Occupancy Evaluation Score | 0% |  |  | 100%
| Transparency Score | 0% |  |  | 100%
| Feedback Score | 0% |  |  | 100%

## Reference Tables
Benchmarking
Explanation
Notes on the benchmarking data set: All benchmark values are national averages (CBECS 2003) to align with the AIA COTE Top Ten submission instruction and to keep the values simple, accurate, and comparable across all projects. We understand the subtleties of regional benchmarks and know that they can be helpful in some circumstances, but we also realize that the disproportionally important "predicted energy use reduction" metric can easily be manipulated by overly specific benchmarks. In an effort to avoid the gamification of energy reduction metrics and to refocus project team efforts towards design strategies that contribute to better performance, we have concluded that benchmarking is best if it's quick, simple, and broadly applicable. Using national average benchmarking accomplishes this goal. Notes on program types: 1. Single-family homes are benchmarked for annual energy and water consumption rather than per square foot. This is because all single-family homes serve the same functional purpose, regardless of size. Regional and density variations are included for single-family houses since they are typically more envelope-dominated than other building types. 2. Laboratories already assume to have some percentage of office space. Select 100% for all laboratory projects. 3. Water benchmarks for restaurants are best based on gallon/seat or gallon/meal served, but for purposes of simplicity, an average gallon/sf is used. | Building Type Definitions and Benchmarks | [13 empty] | Fuel Source Breakdowns and Water Use by Building Category | [10 empty] | National Average Values for Operational Carbon Emissions |  | Single Family Residential Benchmarking1 |  |  |  |  | Region by State |  | Default Fixture Usage by Water Use Type
| Sources | [13 empty] | Sources | [10 empty] | Sources |  | Project-based figures noted in blue |  |  |  |  | Project-based figures noted in blue |  | Usage assumes 50%/50% male-female and takes duration into account.
| CBECS: Energy Consumption by Building Type 2003 | [13 empty] | CBECS: Energy Consumption by source 2012 | [10 empty] | Energy Star Portfolio Manager Emission Factors
| RECS: Annual household site fuel Consumption 2015 | [13 empty] | RECS: Annual household site fuel Consumption 2015
| AIA 2030 | [13 empty] | CBECS Table W1. Water consumption 2012
| CBECS: Building type definitions | [13 empty] | EPA WaterSence - Residential Water Use
EPA v CBECS Comparison
*EPA Energy Start Data Trends
**Savetexaswater.org Analsysis
| Building Type | Reference Site EUI1,2 (kBtu/sf/yr) | LPD (W/sf) | Building Category | Water Use Type | Site EUI (kBtu/sf/yr) | Emissions Factor (kg-CO2e/kBtu) (?) | Operational Carbon Intensity (kg-CO2e/sf/yr) | Water Use Intensity (Gal/sf/yr) | Toilet (#/person/day) | Urinal (#/person/day) | Shower (min/person/day) | Lavatory (min/person/day) | Kitchen Faucet (min/person/day) | Building Category | Reference Water Use1 (Gal/yr) | Reference Water Use Intensity3 (Gal/sf/yr) | Electricity | Natural Gas | Fuel Oil | District Steam / Hot Water | Propane | Unaccounted Fuel Sources (?) | Water Use Intensity (Gal/sf/yr) | Emissions Factor (kg-CO2e/kBtu) (?) | Fuel Source | Emissions Factor (kg-CO2e/kBtu) | Region | Type | Region - Type | Annual Energy Use (kBtu/yr) | Project-Based EUI (kBtu/sf/yr) | State | Region | Water Use Type | Toilet (#/person/day) | Urinal (#/person/day) | Shower (min/person/day) | Lavatory (min/person/day) | Kitchen Faucet (min/person/day)
| Reference Table Column Index | [5 empty] | 11 |  | 10 | 2 | 3 | 4 | 5 | 6 | Emissions Factor |  |  | 0.11821 | 0.05311 | 0.07421 | 0.0664 | 6.425% | [6 empty] | 0 | - 0 | 0 | 0 | 0
| Bank | 77 | 1 | Office | Commercial | 77 | 0.099606 | 7.6697 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | Education |  | 14.6 | 54.39% | 34.56% | 3.325% | 7.72% | 0% | 0% | 14.6 | 0.098749 | Electricity | 0.11821 | Midwest | Rural | Midwest - Rural | 111300 |  | AL | South | Commercial | 2 | 1 | 0.5 | 1.5 | 0.25
| Bar / night club | 52 | 1.2 | Public assembly | Commercial | 52 | 0.093095 | 4.841 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Enclosed and strip malls |  | 11.3 | 66% | 34% |  |  | 0% | 0% | 11.3 | 0.096076 | Natural Gas | 0.05311 | Midwest | Suburban | Midwest - Suburban | 112800 |  | AK | West | Residential | 5 | 0 | 8 | 5 | 4
| Convention Center | 66 | 1.1 | Public assembly | Commercial | 66 | 0.093095 | 6.1443 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Food sales |  | 23.7 | 79.39% | 20.23% |  |  | 0% | 0.3817% | 23.7 | 0.10459 | Propane | 0.06425 | Midwest | Urban | Midwest - Urban | 112800 |  | AZ | West
| Courthouse | 118 | 1.2 | Office | Commercial | 118 | 0.099606 | 11.7536 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | Food service |  | 25.1 | 54.28% | 44.16% |  |  | 0% | 1.556% | 25.1 | 0.08762 | Fuel Oil | 0.07421 | Northeast | Rural | Northeast - Rural | 112900 |  | AR | South
| Education - College / University | 120 | 1.2 | Education | Commercial | 120 | 0.098749 | 11.8498 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Health care |  | 47 | 50.84% | 36.91% | 2.786% | 9.471% | 0% | 0% | 47 | 0.08815 | District Steam / Hot Water | 0.0664 | Northeast | Suburban | Northeast - Suburban | 106800 |  | CA | West
| Education - K-12 School | 75 | 1.2 | Education | Commercial | 75 | 0.098749 | 7.4061 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Inpatient |  | 50.2 | 45.72% | 39.89% | 2.914% | 11.29% | 0% | 0.1821% | 50.2 | 0.084892 | District Chilled Water - Electric Driven | 0.0527 | Northeast | Urban | Northeast - Urban | 106800 |  | CO | West
| Education - Other | 76 | 1.2 | Education | Commercial | 76 | 0.098749 | 7.5049 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Lodging |  | 44.5 | 53.9% | 39.18% | 1.418% | 5.496% | 0% | 0% | 44.5 | 0.089236 | District Chilled Water - Natural Gas Absorption Chiller | 0.07389 | South | Rural | South - Rural | 81800 |  | CT | Northeast
| Education - Preschool | 75 | 1.2 | Education | Commercial | 75 | 0.098749 | 7.4061 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Residential - Multifamily |  | 42 | 60.22% | 34.67% | 4.282% |  | 0.8287% | 0.8287% | 42 | 0.09331 | District Chilled Water - Natural Gas Engine Driven Chiller | 0.04931 | South | Suburban | South - Suburban | 74000 |  | DE | Northeast
| Food - Fast Food | 534 | 1.5 | Food service | Commercial | 534 | 0.08762 | 46.789 | 25.1 | 2 | 1 | 0.5 | 1.5 | 0.25 | Residential - Senior care |  | 60.2 | 60.22% | 34.67% | 4.282% |  | 0.8287% | 0.8287% | 60.2 | 0.09331 |  |  | South | Urban | South - Urban | 74000 |  | DC | Northeast
| Food - Grocery Store | 213 | 1.5 | Food sales | Commercial | 213 | 0.10459 | 22.2776 | 23.7 | 2 | 1 | 0.5 | 1.5 | 0.25 | Residential - Single family | 109500 |  | 45.44% | 44.47% | 5.579% |  | 4.491% | 4.506% | 0 | 0.084364 |  |  | West | Rural | West - Rural | 93100 |  | FL | South
| Food - Restaurant | 302 | 1.5 | Food service | Commercial | 302 | 0.08762 | 26.4612 | 25.1 | 2 | 1 | 0.5 | 1.5 | 0.25 | Office |  | 14.5 | 69.7% | 22.72% | 1.45% | 6.124% | 0% | 0% | 14.5 | 0.099606 |  |  | West | Suburban | West - Suburban | 69900 |  | GA | South
| Food - Sales | 225 | 1.5 | Food sales | Commercial | 225 | 0.10459 | 23.5327 | 23.7 | 2 | 1 | 0.5 | 1.5 | 0.25 | Outpatient |  | 15.5 | 67.46% | 27.22% |  |  | 0% | 5.325% | 15.5 | 0.094195 |  |  | West | Urban | West - Urban | 69900 |  | HI | West
| Food - Service | 351 | 1.5 | Food service | Commercial | 351 | 0.08762 | 30.7545 | 25.1 | 2 | 1 | 0.5 | 1.5 | 0.25 | Public assembly |  | 26.2 | 57.29% | 28.12% | 1.458% | 13.33% | 0% | -0.2083% | 26.2 | 0.093095 | [7 empty] | ID | West
| Laboratory | 370 | 1.4 | Inpatient | Commercial | 370 | 0.084892 | 31.4102 | 50.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Public safety |  | 42.6 | 54.89% | 30.83% | 1.504% |  | 0% | 12.78% | 42.6 | 0.08237 | [7 empty] | IL | Midwest
| Library | 104 | 1.3 | Public assembly | Commercial | 104 | 0.093095 | 9.6819 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Religious worship |  | 7.3 | 46.82% | 50.29% | 2.89% |  | 0% | 0% | 7.3 | 0.0842 | [7 empty] | IN | Midwest
| Lodging - Hotel | 94 | 1 | Lodging | Residential | 94 | 0.089236 | 8.3882 | 44.5 | 5 | 0 | 8 | 5 | 4 | Retail (other than mall) |  | 8 | 77.2% | 20.33% | 1.923% |  | 0% | 0.5495% | 8 | 0.10348 | [7 empty] | IA | Midwest
| Lodging - Residence Hall | 89 | 1 | Lodging | Residential | 89 | 0.089236 | 7.942 | 44.5 | 5 | 0 | 8 | 5 | 4 | Service |  | 12.6 | 46.69% | 44.85% | 5.882% |  | 0% | 2.574% | 12.6 | 0.08338 | [7 empty] | KS | Midwest
| Medical - Hospital | 227 | 1.2 | Inpatient | Commercial | 227 | 0.084892 | 19.2706 | 50.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Warehouse and storage |  | 3.4 | 66.2% | 32.4% | 1.166% |  | 0% | 0.2331% | 3.4 | 0.096329 | [7 empty] | KY | South
| Medical - Office | 59 | 1 | Health care | Commercial | 59 | 0.08815 | 5.2008 | 47 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | LA | South
| Medical - Outpatient surgery | 73 | 1.2 | Outpatient | Commercial | 73 | 0.094195 | 6.8763 | 15.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | ME | Northeast
| Meeting Hall | 52 | 1.2 | Public assembly | Commercial | 52 | 0.093095 | 4.841 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | MD | Northeast
| Movie Theater | 95 | 1.6 | Public assembly | Commercial | 95 | 0.093095 | 8.844 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | MA | Northeast
| Museum | 95 | 1.6 | Public assembly | Commercial | 95 | 0.093095 | 8.844 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | MI | Midwest
| Office | 90 | 1 | Office | Commercial | 90 | 0.099606 | 8.9646 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | MN | Midwest
| Performing arts | 95 | 1.6 | Public assembly | Commercial | 95 | 0.093095 | 8.844 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | MS | South
| Post Office | 66 | 1.1 | Office | Commercial | 66 | 0.099606 | 6.574 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | MO | Northeast
| Public Assembly | 66 | 1.1 | Public assembly | Commercial | 66 | 0.093095 | 6.1443 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | MT | West
| Public Safety - Police, fire, etc. | 90 | 1 | Public safety | Commercial | 90 | 0.08237 | 7.4133 | 42.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | NE | Midwest
| Recreation (Visitor Center) | 66 | 1.1 | Public assembly | Commercial | 66 | 0.093095 | 6.1443 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | NV | West
| Religious Worship | 46 | 1.3 | Religious worship | Commercial | 46 | 0.0842 | 3.8732 | 7.3 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | NH | Northeast
| Residential - Assisted Living | 124 | 1 | Residential - Multifamily | Residential | 124 | 0.09331 | 11.5704 | 42 | 5 | 0 | 8 | 5 | 4 | [18 empty] | NJ | Northeast
| Residential - Multifamily | 79 | 0.7 | Residential - Multifamily | Residential | 79 | 0.09331 | 7.3715 | 42 | 5 | 0 | 8 | 5 | 4 | [18 empty] | NM | West
| Residential - Single family |  | 0.7 | Residential - Single family | Residential | 0 | 0.084364 | 0 | 0 | 5 | 0 | 8 | 5 | 4 | [18 empty] | NY | Northeast
| Retail - Box Store | 47 | 1.5 | Retail (other than mall) | Commercial | 47 | 0.10348 | 4.8635 | 8 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | NC | South
| Retail - Convenience Store | 192 | 1.5 | Retail (other than mall) | Commercial | 192 | 0.10348 | 19.8681 | 8 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | ND | Midwest
| Retail - General | 72 | 1.5 | Retail (other than mall) | Commercial | 72 | 0.10348 | 7.4505 | 8 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | OH | Midwest
| Retail - Mall | 107 | 1.5 | Enclosed and strip malls | Commercial | 107 | 0.096076 | 10.2801 | 11.3 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | OK | West
| Self Storage | 31 | 0.8 | Warehouse and storage | Commercial | 31 | 0.096329 | 2.9862 | 3.4 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | OR | West
| Services - General | 77 | 1.4 | Service | Commercial | 77 | 0.08338 | 6.4203 | 12.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | PA | Northeast
| Warehouse | 26 | 0.8 | Warehouse and storage | Commercial | 26 | 0.096329 | 2.5045 | 3.4 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | RI | Northeast
| Warehouse - Refrigerated | 127 | 0.8 | Warehouse and storage | Commercial | 127 | 0.096329 | 12.2337 | 3.4 | 2 | 1 | 0.5 | 1.5 | 0.25 | [18 empty] | SC | South
[33 empty] | SD | Midwest
[33 empty] | TN | South
[33 empty] | TX | South
[33 empty] | UT | West
[33 empty] | VT | Northeast
[33 empty] | VA | South
[33 empty] | WA | West
[33 empty] | WV | Midwest
[33 empty] | WI | Midwest
[33 empty] | WY | West

## Program Calcs
| Program Breakdown(?) | % of Building Area | LPD (W/sf) | Site EUI (kBtu/sf/yr) | Operational Carbon Intensity (kg-CO2e/sf/yr) | Water Use Intensity (Gal/sf/yr) | Toilet (#/person/day) | Urinal (#/person/day) | Shower (min/person/day) | Lavatory (min/person/day) | Kitchen Faucet (min/person/day)
Reference Table Column Index |  |  | 3 | 6 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Reported Benchmark |  |  | 3: 0; 6: 0; 8: 0; 9: 0
User-Defined Benchmark
Program-Weighted Benchmark |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Change Log (hidden)
Track Changes to the SuperSpreadsheet
Version | Tab | Description